IATG SAFERGUARD TRAINING MODULES

LESSON PLAN MA11 – ELECTRICAL AND MHE ISSUES

| OVERVIEW |  |
| --- | --- |
| Lesson Code: | MA11 |
| Lesson Title: | Electrical and MHE Issues |
| Course: | SG3 |
| Time: | 45 minutes |
| Aim: | To introduce students to electrical, MHE and other vehicle issues |
| Objectives: | - Electrical Categories - Electrical Supply and Safety - Electrostatic Precautions - Lightning Protection - MHE Category and Zoning - Operating Limitations |
| Key Messages: | - Electrical Categories exist - Cat ‘C’ the standard for storage of properly packaged ammunition - Distances need to be applied regarding power cabling - Limitations exist on the use of MHE and other vehicles - IATG 05:40 and 05:50 provide great detail on these matters |

| LESSON HANDOUTS |  |  |
| --- | --- | --- |
| Document | Source | Qty |
| None |  |  |

| LESSON ACTIVITY |  |  |  |  |
| --- | --- | --- | --- | --- |
| Activity | Topic | Content | Slide(s) | Time |
| 1 | Introduction | - Introduction | 1 | 2’ |
| 2 | Electrical Categories | - Allocation of electrical categories - Summary of electrical categories | 2 | 8’ |
| 3 | Electrical Supply and Safety | - External power supply - Internal(site) power supply | 1 | 5’ |
| 4 | Electrostatic Precautions | - Static electricity Sources and mitigation examples | 1 | 6’ |
| 5 | Lightening Protection | - Lightening protection - Low probability v severe consequence - External LPS - Internal LPS - Monitoring and evacuation procedure | 1 | 6’ |
| 6 | MHE Category and Zoning | - Vehicles permitted in Categorised Areas | 1 | 3’ |
| 7 | Operating Limitations | - Vehicles permitted to enter a PES - ‘Standard’ vehicles in a PES - ‘Standard’ vehicles in an explosives area but not actually in a PES - Management and control of MHE | 4 | 10’ |
| 8 | Questions | - Any questions | 1 | 5’ |
| TOTAL |  |  |  | 45’ |